## Slide 1: Lesson 3 Computer Protection
Computer Literacy BASICS: A Comprehensive Guide to IC3, 4th Edition
Morrison / Wells

## Slide 2: Objectives
2
2
Protect computer hardware from theft and damage.
Safeguard data.
Identify environmental factors that can damage computers.
Protect computers from power loss or fluctuation.
Identify common computer hardware problems.

## Slide 3: Protecting Computer Hardware from Theft and Damage
3
3
Theft and damage of computer hardware is a serious problem many organizations face.
Effects of theft and damaged hardware and equipment:
capital loss of equipment
related down time until it is replaced
losing sensitive and confidential information through theft or damage could have long-term consequences

## Slide 4: Protecting Computer Hardware from Theft and Damage (continued)
4
4
In addition, apply the following safeguards to help protect computer hardware from theft:
  Use security locks and/or tabs to secure the equipment to the desk or other furniture.
  Attach an alarm that will sound if the equipment is moved from its designated location.
  Mark all equipment with an identification tag or symbol that can be traced.
  Insure the equipment.
  Use a designated schedule to back up data to a separate system.

## Slide 5: ***Quick Recap***
What is one effect damaged hardware or equipment has on a business or an individual user?
What are some safeguards to help protect against theft or damage?

## Slide 6: Safeguarding Data
6
6
In most instances, hardware can be replaced when it is stolen or damaged.
Data, on the other hand, is a critical component of most businesses and is not easily replaced.
The risk and severity of data theft is increasing due to four predominant factors:
  The value of data stored on computers.
  Massive amounts of confidential data being stored.
  Increased use of mobile devices outside a secure network.
  Increased proficiency of data hackers and thieves.

## Slide 7: Safeguarding Data (continued)
7
7
Encryption is a secure process for keeping confidential information private.
The data is scrambled mathematically with a password or a password key and is unreadable until it is decrypted.
Data Backup:
  Even saved data can be lost or corrupted by equipment failure, software viruses hackers, fire or water damage, or power irregularities.

## Slide 8: Safeguarding Data (continued)
8
8
Data Backup (continued):
  Backup procedures should place priority on files that would be difficult or impossible to replace or reconstruct if they were lost, such as a company’s financial statements, important projects, and works in progress.
  Because data is so valuable, you must back up important files regularly to removable disks or some other independent storage device.

## Slide 9: Safeguarding Data (continued)
9
9
After backup, people and businesses need to keep the storage media in a separate location away from their backed up computers.

## Slide 10: ***Quick Recap***
Why is backing up data very important for a business or individual person?
Where does a business or person need to keep data once it is backed up?

## Slide 11: Identifying Environmental Factors that Can Damage Computers
11
11
Computer equipment and its data are also subject to hazards associated with improper use.
Environmental factors such as temperature, humidity, and electrical fields also can contribute to hardware and software damage.
Temperature:
  A temperature range of 68 to 75 degrees is optimal for system reliability.

## Slide 12: Identifying Environmental Factors that Can Damage Computers
12
12
  You should not operate computer equipment in a room where the temperature exceeds 85 degrees.
Humidity:
  A high level of humidity can cause computers to short circuit, resulting in the loss of data and damage to hardware.
  For optimal performance, the relative humidity of the computer room should be above 20 percent and below the dew point.
  Environments that require high reliability should have a humidity alarm.

## Slide 13: Identifying Environmental Factors that Can Damage Computers (cont.)
13
13
Water Damage:
  Modern computer systems contain a cut-off device that is triggered if sprinklers turn on.
  If a computer suffers water damage, make sure it is completely dry before restoring the power.
  Storage devices and printouts can be damaged or destroyed by water.
  Water damage may also occur from flooding or broken pipes.

## Slide 14: Identifying Environmental Factors that Can Damage Computers (cont.)
14
14
Magnetic Fields and Static Electricity:
  A single spark from static electricity can damage the internal electronics of a computer.
  Grounding prevents damaging a computer with a static electrical spark.
  Computer rooms should have tile floors and antistatic carpet to reduce static electricity.
  Hard drives are sensitive to magnetic fields.
  Do not store magnets directly on a computer.

## Slide 15: Identifying Environmental Factors that Can Damage Computers (cont.)
15
15
Physical Damage:
  Prevent damage to desktop computers by arranging equipment so it is stable and cannot fall or be knocked over.
  Notebook computers are more prone to physical wear and tear because they are portable.
  Most portable systems are insulated with shock absorbing material.
  Transport devices with care, such as in padded cases.

## Slide 16: Identifying Environmental Factors that Can Damage Computers (cont.)
16
16
Poor Maintenance:
  One of the best ways to cut down on computer repair is through preventive maintenance.
  Follow a monthly maintenance schedule to keep computer devices in good working order.
    For example: for a mechanical mouse, remove the ball and clean it periodically.

## Slide 17: ***Quick Recap***
What type of environmental hazard would cause a computer to short circuit and lose data?
_________ can be reduced by monthly preventative maintenance.

## Slide 18: Protecting Computers from Power Loss and Fluctuation
18
18
An unexpected power outage can wipe out any data that has not been properly saved.
Secure electric cords so that they cannot be disconnected accidentally.
Protect computers from power
spikes with a surge suppressor.
- Lower end surge suppressors
wear out and need to be replaced sooner.

## Slide 19: Protecting Computers from Power Loss and Fluctuation (continued)
19
19
An uninterruptible power supply (UPS) can prevent data loss due to power outages.
A UPS contains a battery that temporarily provides power if the normal current is interrupted.

## Slide 20: Protecting Computers from Power Loss and Fluctuation (continued)
20
20
A UPS provides additional time for a user to save data and shut down properly.
Two types of UPS systems:
  Standby Power Systems (SPS): monitors electrical power and switches to battery if it detects a problem.
  Online UPS Systems: constantly provides power even when you are using electricity.

## Slide 21: ***Quick Recap***
This option switches to battery power if it detects a problem in the electricity?
If not protected by a __________, a computer or other electronic device may be damaged by spikes in electricity.

## Slide 22: Identifying Common Computer Hardware Problems
22
22
Computer equipment and stored data are subject to computer hardware issues.
  “Crashed” hard drive
  Damaged media
  Printer and monitor problems
  Loss of network or Internet connectivity
  General failure
You can solve many problems on your own, while others may require a professional.

## Slide 23: Identifying Common Computer Hardware Problems (continued)
23
23
Crashed Hard Drive:
  Hard drives can stop working if they become overheated, are dropped or shaken, become worn out, or are infected with a virus.
  To evaluate the condition of the drive:
    Use a boot disk to determine if the drive is readable.
    Use diagnostic and data recovery programs to locate and recover bad sectors.
    Use a data recovery service.

## Slide 24: Identifying Common Computer Hardware Problems (continued)
24
24
Damaged Media:
  Hard drives and other media eventually fail.
  In many instances, you can recover data.
    First, move the damaged media to a secure environment.
    Second, inspect or test the media to determine what type of damage has occurred. The type of damage determines the type of recovery method to use.
    Another option is to locate a disaster data recovery company to recover data from the computer.

## Slide 25: Identifying Common Computer Hardware Problems (continued)
25
25
Printer Problems:
  Paper jams stop printers from printing a file.
  Using the wrong paper or using wrinkled or torn paper can cause a paper jam.
  Faded images could mean one of three things:
    The toner is low or out.
    The print density is set too low.
    Economy mode printing is turned on.

## Slide 26: Identifying Common Computer Hardware Problems (continued)
26
26
Printer Problems (continued):
  If ink or toner comes off the paper when touched, look for three possible causes:
  The fuser assembly might be damaged or need to be replaced
  The toner cartridge could be defective
  Some toner may have spilled into the printer.

## Slide 27: Identifying Common Computer Hardware Problems (continued)
27
27
Display Problems:
  The hardware of a display consists of two elements:
    the monitor
    the video card.
To troubleshoot a display problem:
  Check that the power cord is plugged in and the monitor cable is connected to the computer.
  Verify that the monitor is turned on and settings are correct.
  Update the video driver.

## Slide 28: Identifying Common Computer Hardware Problems (continued)
28
28
Inoperable Hardware Devices:
  When a hardware device does not work, it could be a software problem, an electrical problem, or a mechanical problem.
  A small program called a driver instructs the operating system on how to operate specific hardware.
  Other causes are incorrect installation of the software or hardware failure.

## Slide 29: Identifying Common Computer Hardware Problems (continued)
29
29
Loss of Network or Internet Connectivity:
  Common causes of connectivity problems:
  The network provider’s system is not working properly.
  Network adapters and switch ports do not match.
  The network adapter is incompatible with the motherboard or other hardware components.

## Slide 30: Identifying Common Computer Hardware Problems (continued)
30
30
Loss of Network or Internet Connectivity (continued):
  Troubleshooting options:
  Use the DOS ping command to test connectivity and isolate hardware problems and mismatched configurations.

## Slide 31: Identifying Common Computer Hardware Problems (continued)
31
31
Loss of Network or Internet Connectivity (continued):

## Slide 32: Identifying Common Computer Hardware Problems (continued)
32
32
Loss of Network or Internet Connectivity (continued):
  Verify that other computers on the same network and those plugged into the same switch are also experiencing network connectivity problems.
  Restart the router.
  Check the computer’s network card or board and verify it is using appropriate settings as indicated by the manufacturer.

## Slide 33: Identifying Common Computer Hardware Problems (continued)
33
33
Loss of Network or Internet Connectivity (continued):
  Try another network cable.
  If you are using a wireless router within a home, beware of signal interference from other home appliances.

## Slide 34: ***Quick Recap***
What is one reason for ink or toner to come off of the paper when touched?
This software program instructs the operating system on how to operate specific hardware.